Part 1 Hardware connection

- Interface diagram

H32-001S2：

- LED lamp

- System operation switch

- EtherNET communication port

Connect PC HMI etc

- EtherCAT communication port

Connect ECT Servo ECT Slave etc

- CANopen communication port

- Connect CANopen Servo CANopen Slave etc

- USB interface

X1：1：Terminal resistance switch

3：Remote control switch

X2/X3：RS485 communication port

X4：Power supply terminal

- Interface definition

- EtherNET communication port（Standard Ethernet interface）

- EtherCAT communication port（Standard Ethernet interface）

- CANopen communication port

- Part 2 Software operation

- Setup the software & confirm version：MagicWorks PLC V2.18

- Open the software & Switch language to English

- Click”工具(T)”,then click”选项(O)”

- Choose”英语”，then click”确定(O)”

- click”是(Y)”, the software will shut down automatically

- Create a new project：

- Restart the software, then choose “File” click ”New...”

- Input new project name and storage, then click “OK”

- Right-click “Project1”, choose “Insert New Object” click “PLC station”

- Choose “H32-006” then click “OK”

- Double click “PLC1” then double click “H32-006”

- Double click “HW C...” Enter a new page as shown in the figure below

- You may click “Tools” and import third party EDS or XML files.This step is necessary to identify the slave devices of other manufacturers in the hardware configuration.

- Click "v1.0" on the right and drag it to the No. 1 position on the left, as shown below

- Right-click “H32-006”, choose “Properties”

- Check “Use CANopen”, and choose band rate(The default is 1000kbps), then click “OK”

- You may see the CAN BUS in the hardware configuration interface

- Then Click a CANopen device like “E10” in the picture and drag it to the CAN BUS position on the left, as shown below.Up to 32 can be dragged.E10 is a CANopen Servo product of our company.This paper takes this as an example.

- Double click E10 Servo Icon, you may set parameters of CANopen communication. The main setting of this step is to map the servo parameter address and V area in PLC

- After setting, you can also drag SM300 IO modules to RACK.